Susquehanna River Basin Commission

a water management agency serving the Susquehanna River Watershed

# Surface Water Withdrawal Instructions and Application

Who Must Submit an Application:

An application must be submitted by anyone proposing :

- A new withdrawal from a surface source(s) in excess of 100,000 gallons per day (gpd).

- A new surface withdrawal or an increased withdrawal for a project that has an SRBC approved surface water withdrawal, regardless of the quantity of the proposed increase or the proposed withdrawal from the new source.

- An increase in any surface water withdrawal initiated prior to November 11, 1995, by 100,000 gpd or more.

- An increase in any surface water withdrawal initiated on or after November 11, 1995, to 100,000 gpd or more.

Note: All quantities are 30-day averages.  Surface water sources include stream and river intakes, reservoirs, lakes, and springs.

Check List of Items to Accompany Application:

___  1.	All appropriate attachments:

a.	Public water suppliers must complete the attached Public Water Supply Information, SRBC #24P; and

b.	All water users except agriculture must complete the attached Consumptive Use Application, SRBC #24C.

___  2.	Copy of USGS 7 1/2' quadrangle map showing project location.  Proposed intakes, existing sources and any water storage facilities must be identified on the map.

___  3.	Attach sheets showing method of safe yield computations, present and future use, and alternate sources of supply considered.  (See application Sections 4, 6, and 8.)

___  4.	The application must be signed by the preparer and the applicant

___  5.	Submit the appropriate application fee based on Fee Resolution 98-19 (available on our web site).  If you also have a consumptive use application, submit the higher fee.

Notification Material:

Please submit the appropriate notification material, as required by Section 803.25 of our Regulations and Procedures for Review of Projects (all of which are available on our web site), within 10 days of the application submittal.

Where to File Application:

Project Review Coordinator

Susquehanna River Basin Commission

1721 N. Front Street

Harrisburg, PA  17102-2391

If you need assistance, contact the Susquehanna River Basin Commission, Water Management Division at (717) 238-0425, fax (717) 238-2436, or via e-mail addressed to srbc@srbc.net.

Susquehanna River Basin Commission

a water management agency serving the Susquehanna River Watershed

# Surface Water Withdrawal Application

1.	Applicant Information:

Company Name

Mailing Address

City       		State       		Zip

Contact Person       	      Title

Telephone  (     )     		Fax   (     )     		E-mail

2.	a.	Location of proposed source(s):

State       		County

Municipality

b.	You must attach a copy of a USGS 7 1/2 Minute Quadrangle map indicating location of proposed intake(s), all existing project sources, and any water storage facilities.

3.	Purpose of proposed withdrawal(s):

Provide method of computation for the safe yield estimates of all sources of water supply or submit copies of flow or pumping test data.  (See Application Sections 4 and 8.)  For all run-of-stream sources and sources with limited storage, compute 7-day, 10-year low flow (Q7-10) using low flow statistical data and appropriate hydrologic engineering techniques.  Whenever an intake is located on an ungaged stream, the applicant must use an acceptable method for computing the safe yield or Q7-10, such as selecting a reference U.S. Geological Survey gaging station and proportioning the yield based on drainage area.  The selected gaging station must be on a watershed having similar geologic and climatic characteristics to those of the ungaged watershed.  Other factors to consider are relative size of drainage areas and whether the reference gaging station is influenced by upstream reservoirs or other flow regulation activities.  Up-to-date low flow data for specific gaged watersheds may be obtained from the U.S. Geological Survey district offices.  Actual flow data collected at the project intake may be used to supplement the use of a reference gaging station.  Any data provided should indicate the method used to measure the flow (current meter, weir, etc.), the dates of observation and the flow observed.  In application Section 6, show calculation for determining the quantity of withdrawal requested for present and future use (over the next 25 years).  Describe alternate sources of supply considered in lieu of requesting a new or increased withdrawal for the sources listed in Application Section 4.

4.	Source(s) from which withdrawal is being requested:

|  | Quantity of Withdrawal Requested | Safe Yield or Q7-10 Low Flow2 | Drainage | Location of |
| --- | --- | --- | --- | --- |
| Name of Source | Maximum 30-Day Average (mgd1) | Maximum Day (mgd1) | at Point of Taking (mgd1) | Area (square miles) | Taking Point (latitude/longitude) |
| Total |  |  |  |  |  |

1  mgd = million gallons per day

2  Use acceptable hydrologic practices in determining 7-day, 10-year low flow.

5.	Prior or pending state or federal permits:

| Permit Name | Status1 | Agency | Permit Issue Date | Permit Number |
| --- | --- | --- | --- | --- |
| Safe Drinking Water Permit |  |  |  |  |
| Dams Permit |  |  |  |  |
| Encroachment or Water Obstruction Permit |  |  |  |  |
| Water Allocation/Appropriation Permit |  |  |  |  |
| Other (Please Specify) |  |  |  |  |
| Other (Please Specify) |  |  |  |  |

1  If not applicable list (NA); if pending, (P); if required but not applied for, (R)

6.	Show by calculation how the “Quantity of Withdrawal Requested” was determined.  (See Application Section 4.)  Describe how sufficient this allocation will be in meeting the future needs of this project.  Describe alternative sources of supply considered in lieu of requesting a new or increased allocation from the sources listed in Application Section 4.  (Attach additional sheets, as necessary.)

7.	Existing and projected total water use:

| Total Project Water Usage1 | Existing (mgd)2 | Projected (mgd)3 for Design Year |
| --- | --- | --- |
| Average Daily Water Demand |  |  |
| Maximum Daily Water Demand |  |  |
| System Capacity4 |  |  |

## Explanation

1  Project water usage should be on an annual basis, unless the application is for a seasonal operation.  For seasonal uses, indicate the duration of the use (the number of months on which the average is based).

2  For new projects, the existing use should be the proposed use during the first year of operation.

3  The projected use should be for 25 years in the future (design year).  If the project duration is less than 25 years, indicate the year for which projections were made.

4  The existing system capacity should not include the proposed sources unless the application is for a new project having no prior withdrawal.

8.	Existing sources of water:

a.	Wells

| Well Identification | Frequency of Use1 | Purpose2 | Well Depth (ft) | Cased Depth (ft) | Screened Interval (ft to ft) | Existing Pump Capacity (mgd) | Number of Days Used During Calendar Year | Metered (yes/no) | Average Daily Withdrawal (mgd) | Safe Yield3 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  |  | Total |  |  |

1  Indicate if well is used on Regular (R), Auxiliary (A), or Emergency (E) basis.

2  Indicate purpose such as potable supply, non-contact cooling, or water quality remediation.

3  Provide method of computation or submit copies of pumping test data.

b.	Other sources of water (stream intakes, interconnections, reservoirs, springs, etc.):

| Name | Description | Frequency of Use1 | Purpose2 | Drainage Area, If Applicable (square miles) | Existing Pump Capacity3 (mgd) | Number of Days Used During Calendar Year | Metered (yes/no) | Average Daily Withdrawal (mgd) | Safe Yield or Q7-10 Low Flow4 (mgd) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  | Total |  |  |

1  Indicate if source is used on Regular (R), Auxiliary (A), or Emergency (E) basis.

2  Indicate purpose such as potable supply, process water, non-contact cooling, or irrigation.

3  If gravity-fed, give maximum hydraulic capacity and label as such.

4  Provide method of computation for 7-day, 10-year low flow for run-of-stream sources.

9.	Raw water ponds, lakes, intake dams, and storage dams (existing and/or proposed):

| Name | Year Constructed | Year of Last Sedimen- tation | Storage Capacity | Surface Area | Drainage Area | Release Works1 |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | Survey | (mg) | (acres) | (sq mi) | (yes) | (no) |

1  Does the dam have facilities to provide a release of water to the stream when water is not flowing over the spillway or top of dam?  If yes, describe length, diameter, depth, valving, etc.

10.	Preparer:

Name

Title

Company

Address

Phone  (     )      		Fax  (     )

Signature

Date       		E-mail Address

11.	Applicant:

Name (print or type)       		Title

Signature  		Date

K:\DATA\JPAIN\WORD\FORMS\SRBC\24S (Surface-Water Instructions and Application).DOC